[image: image1.jpg]Nottingham
City Council

i&.



Hot Work Permit
	ENERGY IDENTIFIED THAT REQUIRES DISSIPATING / RESTRAINING TO PREVENT A HAZARD

           EMPLOYEE

          CONTRACTOR……………………………

…………………………………………………….


	REQUIRED PRECAUTIONS 

Any energised equipment to be worked on must be isolated to ensure the energy is removed or controlled to prevent incidents. 

Where electrical isolation is effected at a removable or rack out circuit breaker or combined fuse switch, if practicable it must be racked out or removed, then locked open and danger tagged.

Isolation of other services, i.e. gas, water or hydraulic systems are to be completed at the nearest point to the place of work, these systems are to be danger tagged and locked. 

After isolation check to ensure that the apparatus to be worked on is fully isolated and discharged of any stored energy that may be present (danger tags are only to be removed by the person issuing the tag). 
Energy isolation must be conducted in accordance with the required legal standards or approved codes of practice.
This document supports our safe working procedures and should be used in conjunction with additional controls identified within method statements and risk assessments.

	DATE ISSUED:


	

	LOCATION/BUILDING & FLOOR:

	

	NATURE OF JOB:


	

	NAME OF PERSON(S) INVOLVED IN DISSIPATING / RESTRAINING STORED ENERGY:
	

	I have read the ‘required precautions’ in the adjacent column and agree to comply with those that are applicable for the work detailed above.
Signed :

Print name:
	

	Signed: (issuing officer)


	

	TIME STARTED :                                                                
AM                                                             

                                          PM
	TIME FINISHED:
                                          AM                                                     

                                          PM
	

	PERMIT EXPIRES

 (valid for Maximum of 24 hours)
	DATE:
	TIME:


	

	HAZARD CONTROL SIGN OFF

Work area and all adjacent areas to which stored energy  might have spread were inspected for at least 60 minutes after work was completed and found safe.

Signed: …………………………………………………….

	

	After completion of work, return permit to the Issuing Officer.

	


Energy Isolation – Permit to Work








