[image: image1.jpg]Nottingham
City Council

i&.



 
	Work being undertaken by

           Employee

          Contractor……………………………

…………………………………………………….
	REQUIRED PRECAUTIONS
This permit to work on gas appliances is required for specific tasks, where the risk assessment identifies that the work is high risk and in need of an additional level of control

This permit is required for the following activities:

· Replacement of fixed installations
· Connection of new installations

· Alterations to the supply pipework 

Equipment.
Power tools must be non-sparking where potentially explosive atmospheres are present.

Requirements for signage of work.

Warning signage/barriers/cones to be displayed if work poses a risk to pedestrians in the area.   

Barriers/signs to be erected if there is a potential risk of contact with moving traffic.  

‘No smoking’ signage to be displayed in out door areas adjacent to gas working (smoking is prohibited within the building).
Gas Safe Authorisation 

The reverse of Gas Safe Registration cards identifies which appliances/installations the Engineer is permitted to work.
Cards must be checked to ensure competence to work on required task.

Gas Safe registration is a legal requirement. Non registered engineers attempting to conduct gas working must not be permitted to undertake to do so and should be reported to the HSE immediately.

Post works leak testing

Leak testing must be undertaken by the Gas Engineer on new gas pipe installations or repairs to existing pipework.
Gas Engineers are responsible for undertaking leak testing where the replacement of certain components may result in gas leakage.
In all cases of unsatisfactory leak testing, the appliance/pipework is to be isolated, ‘locked off’ from the mains supply and suitably marked
This document supports our safe working procedures and should be used in conjunction with additional controls identified within method statements and risk assessments.



	Date issued:


	

	Location/Building and area:

	

	Nature of work:


	

	Name(s) of person(s) undertaking the work:
Gas Safe registered? Yes/No.  Reg No.____________

Gas Safe registered? Yes/No.  Reg No.____________
	

	I have read the ‘required precautions’ in the adjacent column and agree to comply with those that are applicable for the work detailed above.
Signed :

Print name:
	

	Signed: (issuing officer)


	

	Time started :                                                                
AM                                                                                                    PM
	Time finished:
AM                                                     

PM
	

	PERMIT EXPIRES

 (valid for Maximum of 24 hours)
	Date:
	Time:


	

	Post work leak testing

I confirm that the required leak testing was conducted by me and found to be satisfactory/unsatisfactory.

Print name_______________________ Date_______
Signature________________________ Time _______

	

	Post-work sign off.
Work area and all adjacent areas have been checked to ensure that all equipment/debris has been removed after work was completed and found safe.
Signed:
Print name:
	

	After completion of work, return permit to the Issuing Officer.
	


Gas Appliance/Installation – Permit to Work








