[image: image1.jpg]Nottingham
City Council

i&.




	HOT WORK BEING PERFORMED BY

           EMPLOYEE

          CONTRACTOR
………………………………………………………………

………………………………………………………………


	REQUIRED PRECAUTIONS 

Fire sprinklers, hose streams and extinguishers in service.

Cutting and welding equipment in good repair (same for brazing, etc.)

Requirements within 35 ft. (11m) of work.

Flammable liquids, dust, lint, and oily deposits removed.   

Floors swept clean.  

Combustible floors wet down or covered with damp drop cloths, or metal shields.         

Remove other combustibles where possible.  Otherwise protect with fire-resistive tarpaulins or metal shields. 

All wall and floor openings covered.

Fire resistive tarpaulins suspended beneath work.

Work on Roofs 

A permit to work at height is required

Ensure that working at height is undertaken safely.

Make staff aware that fires may start in ceiling voids

 Work on walls or ceilings 

Construction is non-combustible and without            combustible covering and insulation.  

Combustibles on other side of walls moved away.

Work on enclosed equipment.

Enclosed equipment cleaned of all combustibles.

Containers purged of flammable liquids.

Fire watch / Hot Work area monitoring.

Fire watch will be provided during and for 60 minutes after completion of work          
Fire watch is supplied with extinguishers and / or hose.

Fire watch is trained in use of this equipment and in sounding the fire alarm.
This document supports our safe working procedures and should be used in conjunction with additional controls identified within method statements and risk assessments.



	DATE ISSUED:


	

	LOCATION/BUILDING & FLOOR:

	

	NATURE OF JOB:


	

	NAME OF PERSON(S) PERFORMING HOT WORK:
	

	I have read the ‘required precautions’ in the adjacent column and agree to comply with those that are applicable for the work detailed above.
Signed :

Print name:
	

	Signed: (issuing officer)


	

	TIME STARTED :                                                                
AM                                                             

                                          PM
	TIME FINISHED:
                                          AM                                                     

                                          PM
	

	PERMIT EXPIRES

(valid for Maximum of 24 hours)
	DATE:
	TIME:


	

	FIRE WATCH SIGN OFF

Work area and all adjacent areas to which sparks and heat might have spread were inspected for at least 60 minutes after work was completed and found safe.

Signed: ……………………………………………………….

	

	After completion of work, return permit to the Issuing Officer.

	


Hot Work – Permit to Work








