[image: image1.jpg]Nottingham
City Council

i&.



 
	Work being undertaken by

           Employee
          Contractor……………………………

…………………………………………………….


	REQUIRED PRECAUTIONS
This permit to work at height is required for specific tasks, where the risk assessment identifies that the work is high risk and in need of an additional level of control

This permit is required for the following activities:

· Roof access

· Work on fragile surfaces

· Work conducted at high levels in communal areas

· Areas where work at height is in close proximity to vehicle movement.

Equipment.
· Suitable access equipment in use. i.e BS1129 (timber ladders), BS 2037 Class 1 (metal ladders) or BS EN 131 (metal or timber ladders)
· Evidence of formal inspection of (ladder tag) must be visible for all ladders being used for the work.
· Harnesses must have been LOLER inspected within the last 6 months

· Ladders are only to be erected on firm level surfaces and secured either top or bottom to prevent slippage.

Requirements for signage of work.

· Warning signage/barriers/cones to be displayed if work poses a risk to pedestrians below.   

· Barriers/signs to be erected if there is a potential risk of contact with moving traffic.  

· ‘Do not open’ signs to be affixed to internal surfaces of doors/windows where opening may pose a risk to persons working at height.
Work on Roofs 

· Edge restraint or fall arrest harnesses must be worn and securely fixed for any work within 2 metres of roof edges, gantries etc.
· Anchor points for the above must have been LOLER inspected within the last 6 months.

· Long term projects should have a permanent, collective edge protection system installed.
This document supports our safe working procedures and should be used in conjunction with additional controls identified within method statements and risk assessments.



	Date issued:


	

	Location/Building and area:

	

	Nature of work:


	

	Name(s) of person(s) undertaking the work:
	

	I have read the ‘required precautions’ in the adjacent column and agree to comply with those that are applicable for the work detailed above.
Signed :

Print name:
	

	Signed: (issuing officer)


	

	Time started :                                                                
AM                                                             

                                          PM
	Time finished:
                                          AM                                                     

                                          PM
	

	PERMIT EXPIRES

 (valid for Maximum of 24 hours)
	Date:
	Time:


	

	Post-work sign off.
Work area and all adjacent areas have been checked to ensure that all equipment/debris has been removed after work was completed and found safe.

Signed:
Print name:


	

	After completion of work, return permit to the Issuing Officer.
	


Work at Height – Permit to Work








