Recommendations for Safe Entry into a Confined Space

(Safety Policy & Arrangements – Confined Spaces)

Consider the following questions to evaluate the confined space.

Do not enter a confined space until you have considered every question as well as any other item of concern, and have determined the space to be safe.

THE FINAL DECISION IS YOURS!

YES	NO

		Do you need someone to accompany you into the space?

VERIFICATION

		Are the instruments used in atmospheric testing properly calibrated?

		Was the person performing the tests competent?

		Was the atmosphere in the confined space tested?

TESTING

		Was Oxygen at least 20.8% - not more than 21%?

		Were toxic, flammable, or oxygen-diluting gases/vapours present?

- Hydrogen sulphide

- Carbon monoxide

- Methane

- Carbon dioxide

- Other (list) 	_______________________________________________________

MONITORING

		Will the atmosphere in the space be monitored while work is going on?

Remember – atmospheric changes occur due to the work procedure or the product stored and vessel movements and temperature changes. The atmosphere may change very quickly.

VENTILATION

		Has the space been ventilated before entry?

		Will ventilation be continued during entry?

		Is the air intake for the ventilation system located in an area that is free of combustible dusts and vapours and toxic substances?

		If atmosphere was found unacceptable and then ventilated, was it re-tested before entry?

YES	NO

ISOLATION OF SERVICES

		Has the space been isolated from other systems?

		Has electrical equipment been locked out?

		Have access points and venting locations been suitably isolated to prevent injury?

		Has mechanical equipment been blocked, chocked, and disengaged where necessary?

		Have lines under pressure been blanked and bled?

		Have the necessary Notice boards / signs been placed in the operations locations and at the confined space entry point to prevent accidental usage.

CLOTHING/EQUIPMENT

		Is special clothing required (boots, chemical suits, glasses, bump-caps etc.)?

		Is special equipment required (e.g. breathing apparatus, rescue equipment, communications equipment etc.)?

		Are special tools required (e.g., spark proof, intrinsically safe)?

TRAINING

		Have all staff who will be entering the confined space received suitable training to be able to work safely within the environment they will be entering?

STANDBY/RESCUE

		Will there be a standby person on the outside in constant visual or auditory communication with the person on the inside?

		Will the standby person(s) be able to see and/or hear the person inside at all times?

PERMIT

(The permit is an authorization in usually writing that states that the space has been tested and checked by an appropriately qualified person to ensure that the space is safe for entry; what precautions, equipment, etc. are required; and what work is to be done.)

		Has a confined space entry permit been issued and is it in date?

		Are other permits required to complement the entry into confined space (hot work permit, asbestos, road closure etc)?